## Slide 1: AIMMS Campus Robust optimization
Part 3: Adjustable robust optimization

## Slide 2: Plan
Multi-stage optimization – ideas and difficulty
Four basic approaches
Case study: Unit commitment in energy planning
Exercises

## Slide 3: Ideas

## Slide 4: Single vs multi-stage

## Slide 5: Two-stage optimization
Naive formulation
The real thing
where

## Slide 6: Pros and cons of adaptivity
Less conservatism than static model
More feasibility
Here-and-now decisions that leave more slack for the future
Optimization problem straight from hell™
Black box?

## Slide 7: Solution approaches

## Slide 8: Inner and outer approaches
Inner: create „imperfect adaptivity” but maintain feasibility of the first decision
Outer: aim for „perfect adaptivity” but the first decision need not fully feasible

## Slide 9: Outer solution approach 1: CCG

## Slide 10: Outer solution approach 2: K-adaptability

## Slide 11: Inner approach 1: Linear Decision Rules

## Slide 12: Inner solution approach 2: Adaptive Partitioning

## Slide 13: Approaches – summary
 | Scalability | Guaranteed robust solution?
CCG | Up to a certain point | No
K-adaptability | No | No
Linear Decision rules | Yes | Yes
Adaptive Partitioning | Up to a certain point | Yes

## Slide 14: Extension to multiple time stages

## Slide 15: Case study: Unit commitment in energy planning
Courtesy of Dimitris Bertsimas (MIT)

## Slide 16
Day-Ahead Decision Making: Unit Commitment
  Generators must be committed before real-time operation (long startup time)
Electric Power System Operations
0
-12
Info: Supply costs, load forecast
Decision: which units to commit
Goal: meet demand w. min cost
Constraints: physical, security
Hour
Day-ahead UC
Info: Unit commit, realized load
Decision: generation level
Goal: min costs meet demand
Constraints: physical, security
Real-time Dispatch

## Slide 17
Current practice: Deterministic UC with Reserve
Unit commitment logics
Start-up, shut-down
Min-up/down
Power flow constraints
Power balance
Ramping constraints
Reserve constraints

## Slide 18
Current practice: MIO
Abstract formulation of UC:
Decisions:
  : UC decisions
  : Dispatch decisions
UC constraints
Dispatch constraints
Coupling constraints
Forecast demand

## Slide 19
Challenges: Growing Uncertainty
Supply uncertainty (Renewables like wind and solar are growing fast)
Demand uncertainty

## Slide 20
Deterministic Reserve adjustment approach
Incorporating extra resources called reserve
Current Practice: Reserve Adjustment
Drawbacks:
1. Uncertainty not explicitly modeled
2. Both system and locational requirement are preset,
heuristic, ad hoc

## Slide 21
Stochastic optimization approach
Uncertainty modeled by distributions and scenarios
Stochastic Optimization
Weakness:
Hard to select “right” scenarios in large systems
The huge number of scenarios needed make the problem intractable for large scale problems.

## Slide 22
Two-stage robust optimization framework
Adaptive Robust Optimization
0
-12
Key Decision:
unit commit x (binary)
Such that:
under x, we have a dispatch policy p(d) satisfies all possible load d given in an uncertainty set with minimum cost.
Load/supply realization net load variation
hour
1. How to model uncertainty?
2. What is policy p(d)?
Key Questions:

## Slide 23
Uncertainty model of net load variation
Model of Uncertainty
t
hour

## Slide 24
Deterministic UC
Adaptive robust UC
s.t.
,
,
,
binary
From Deterministic UC to Adaptive Robust UC

## Slide 25
Decision Policy: Fully Adaptability
Dispatch solution fully adaptive to the uncertainty:
Subject to:
    Commitment constraints: min-up/down times
    Dispatch constraints:
        Energy balance
        Production bounds
        Ramp up/down
        Flow limits

## Slide 26
Find worst
case d for
dispatch
Fully Adaptive Robust UC Problem
For a fixed x, d minimize
dispatch cost
The fully adaptive policy:
  Objective: Fixed-Cost + Worst case Dispatch Cost
Constraints on commitment decision:
Startup/shutdown, Min-up/down…
Second-Stage Problem

## Slide 27
Dual of the dispatch problem
Equivalent reformulation of
s.t.
Reformulation of the Second-Stage Problem

## Slide 28
Second-Stage = Bilinear optimization
  If optimal solution exists, then an extreme point is an optimal solution
  Let be all extreme points for
  Let be all extreme points of
Extreme point representation of Second-Stage:
Reformulation of the Second-Stage Problem

## Slide 29
Initialization: Get feasible , solve for dual var.
Iteration k:
  Step 1:
  Step 2: to generate cuts
  If small enough, stop and return
  otherwise k=k+1
Overall Algorithm

## Slide 30
Initialization: Fix from outer level. Find initial
Iteration :
  Step 1: Solve OA subproblem
  Let be optimal solution
  . Define linearization
  Step 2: Solve OA master problem:
Inner Level Algorithm: Outer Approximation (OA)

## Slide 31
Also called Column-Constraint Generation (CCG)
A Faster Algorithm
is the worst-case scenario
under first-stage solution
Iteration :
CCG is much more efficient than
Benders decomposition
Independently proposed in Bertsimas, Litvinov, Sun, Zhao, Zheng (2013)
and Zeng Zhao (2013)

## Slide 32
312 Generators
174 Loads
2816 Nodes
4 representative trans lines
24-hr data: gen/load/reserve
Total gen cap: 31.4GW
Total forecast load: 14.1GW
A Real-World Example: ISO-NE Power System

## Slide 33
Solve AdptRob and ResAdj UC solutions for
= 0, 0.1Nd,…,Nd for all t.
Fix UC solutions, simulate dispatch over load samples
  1000 load samples from
Compute average dispatch cost and std.
Avg dispatch cost: Economic efficiency
Standard deviation: Price and Operation Stability
Robustness to distributions
Computation Procedure and Measures

## Slide 34
Chart: Average Dispatch Cost under Normal Distribution
| 0 | 0.1 | 0.2 | 0.3 | 0.4 | 0.5 | 0.60000000000000098 | 0.70000000000000095 | 0.8 | 0.9 | 1
ResAdj | 19352990.49 | 17458090.44 | 17239134.35 | 17256299.35 | 17256996.96 | 17289328.98 | 17302984.35 | 17353702.86 | 17389873.57 | 17399015.94 | 17452422.75
AdptRob | 19352990.49 | 16985157.65 | 17051298.05 | 17094918.94 | 17144849.32 | 17158328.81 | 17170564.15 | 17171948.36 | 17171532.21 | 17165518.72 | 17165198.63
Computational Results (I-a): Average dispatch cost
Avg Dispatch Cost Relative Saving := (ResAdj – AdptRob)/ResAdj
0.65% - 2.7%
2.7% relative saving or 472.9k$

## Slide 35
Design using Probability Law: Average dispatch cost
Chart: Average Dispatch Cost under Normal Distribution
| 0.5 | 1 | 1.5 | 2 | 2.5 | 3
AdptRob | 16919517.4 | 16964988.98 | 16981488.72 | 17029723.87 | 17058551.07 | 17074450.94
ResAdj | 18185545.91 | 17490715.48 | 17302697.71 | 17740330.12 | 17656684.96 | 18080368.61
Relative Saving: 1.86% to 6.96%
Absolute Saving: $321.2k to $1.27Million
Design the uncertainty set
By probability law: CLT
vs

## Slide 36
Computational Results (III): Robustness to Distribution
Chart: Avg Dispatch Cost of AdptRob
| 0 | 0.1 | 0.2 | 0.3 | 0.4 | 0.5 | 0.60000000000000098 | 0.70000000000000095 | 0.8 | 0.9 | 1
Uniform | 17694984.45 | 16974328.64 | 17040653.89 | 17084502.72 | 17132893.1 | 17147180.91 | 17164247.5 | 17158456.91 | 17155735.69 | 17156100.53 | 17157774.83
Normal | 19352990.49 | 16985157.65 | 17051298.05 | 17094918.94 | 17144849.32 | 17158328.81 | 17170564.15 | 17171948.36 | 17171532.21 | 17165518.72 | 17165198.63
Relative difference: 0.0368% - 0.0920%
Absolute difference: $6.3k – $15.8k

## Slide 37
Computational Results: Robustness to Distribution
Chart: Avg Dispatch Cost of ResAdj
| 0 | 0.1 | 0.2 | 0.3 | 0.4 | 0.5 | 0.60000000000000098 | 0.70000000000000095 | 0.8 | 0.9 | 1
Uniform | 17694984.45 | 17075835.07 | 17034972.85 | 17063303.17 | 17071968.75 | 17096902.58 | 17115648.76 | 17161280.06 | 17202492.09 | 17224598.63 | 17276996.26
Normal | 19352990.49 | 17458090.44 | 17239134.35 | 17256299.35 | 17256996.96 | 17289328.98 | 17302984.35 | 17353702.86 | 17389873.57 | 17399015.94 | 17452422.75
Relative difference: 1.00% - 2.19%
Absolute difference: $174.4k – $382.2k

## Slide 38
Concluding Remarks
saves dispatch cost
( 6.92% $1.27M)
robust against
load distributions
Significantly reduces
cost volatility
Economic Efficiency
Reduces Price & System Operation Volatility
Data Driven Approach
Demand Modeling
Reference: Adaptive Robust Optimization for Security Constrained Unit Commitment
Problems, D. Bertsimas, E. Litvinov, A. Sun, J. Zhao, T. Zheng,
IEEE Transactions on Power Systems 2012

## Slide 39: Key takeaways
Solutions to optimization problems might be sensitive to data
Make the model include robustness, without making it too big
So that the average performance of the solution gets better
Realistic goal: add a minimum level of robustness needed to avoid disastrous scenarios
Analogy: regularization in ML for better out-of-sample performance

## Slide 40: Exercises